| MODEL HW150 |  |
| --- | --- |
| Heat Range (BTUH) | 180,000 |
| Fuel Use-USGPH | 0.6-1.33 |
| Electrical Voltage | 115 Volt |
| Amperage Draw (Operating) | 14.9 |
| Compressed Air Required | 2 CFM |
| PSI | 15 |
| Flue Size (In inches) | 8 |
| Cabinet Size WxLxH (In inches) | 31.5x40x25.5 |
| Width Overall (With Blower Installed) | 43.5 |
| Length Overall (With Blower Installed) | 61 |
| Height Overall (With Blower Installed) | 30 |
| Ductable | Yes |
| Air Movement Type | Belt Driven Blower |
| Blower CFM Free Air | 3140 |
| Blower Motor HP | ¾ |
| Plenum Dimensions | 23x25 |
| Hanging Mount | 5/8 in. Coupling Nuts – Top Mount |
| Weight ( with Blower and Burner) | 480 lbs |
| Shipping Weight (Approx.) | 550 lbs |
| Warranty | Parts 1 Year Chamber 10 Years |