| MODEL HW350 |  |
| --- | --- |
| Heat Range (BTUH) | 380,000 |
| Fuel Use-USGPH | 2.6 - 3.2 |
| Electrical Voltage | 115 Volt |
| Amperage Draw (Operating) | 18.2 |
| Compressed Air Required | 3 CFM |
| PSI | 30 |
| Flue Size (In inches) | 8 |
| Cabinet Size WxLxH (In inches) | 32x54x48 |
| Width Overall (With Blower Installed) | 32 |
| Length Overall (With Blower Installed) | 66 |
| Height Overall (With Blower Installed) | 80 |
| Ductable | Yes |
| Air Movement Type | Belt Driven Blower |
| Blower CFM Free Air | 4800 |
| Blower Motor HP | 2 |
| Plenum Dimensions | 27x27 |
| Hanging Mount | 5/8 in. Coupling Nuts – Top Mount |
| Weight ( with Blower and Burner) | 1125 lbs |
| Shipping Weight (Approx.) | 1170 lbs |
| Warranty | Parts 1 Year Chamber 10 Years |